## LoadDemo
Outside
| Pressure, kPa | 82.5
| DryBulb, C | 30
| WetBulb, C | 20 | Fresh air inlet
| Enthalpy, kJ/kg | #NAME?
| Humidity, kg/kg | #NAME?
| Room |  |  | Volume
| DryBulb, C | 22.5 |  | Airflow,cms | 1
| Rh | 50% |  | FreshAir | 12% |  | return air
| Enthalpy, kJ/kg | #NAME? |  | Massflow, kg/s | #NAME?
| Humidity, kg/kg | #NAME?
| On Coil |  |  | Coil |  | Supply
| DryBulb, C | #NAME? |  | Total, kW | #NAME? | DryBulb, C | #NAME?
| WetBulb, C | #NAME? |  | Sensible, kW | #NAME? | WetBulb, C | #NAME?
| Enthalpy, kJ/kg | #NAME? |  | Cond, g/s | #NAME? | Enthalpy, kJ/kg | #NAME?
| Humidity, kg/kg | #NAME? |  | Bypass | 15% | Humidity, kg/kg | #NAME?
|  |  |  | ADP, C | 9 | Hadp, kJ/kg | #NAME?
This demo is a simplification of the typcial airconditioning loop where a percentage of fresh air is mixed in the plantroom
The mixed air is supplied to a cooling coil with a specified ADP and bypass factor
You can enter the values in the WHITE cells